## EB2018
[18 empty] | Default Units | Currency | Activity | Emissions
|  |  | COA | GAS | OIL | PEAT | GSL | RNW | HYD | WIND | SOL | BIO | BGS-LG | BGS-SG | HET | ELC |  |  | M£2018 | PJ | kt
|  |  | Solid Fuels | Natural Gas | Crude Oil | SOD PEAT | Gasoline | Renewable Energies | Hydro | Wind | Solar | Biomass | Landfill Gas | Sewage Gas | Derived Heat | Electricity | Total
PRIMARY
| MIN | Domestic Supply | 1330 | 3980 | 93.7 |  |  | 3946.1 | 30.2 | 2978.9 | 302.5 | 554 | 79.9 | 0.6 |  | 9366 | 22661.9
| IMP | Imports | [13 empty] | 707 | 707
| EXP | Exports | [13 empty] | -471 | -471
| SC | Stock Changes | [14 empty] | 0
| TPS | Total Primary Supply | 1330 | 3980 | 93.7 | 0 | 0 | 3946.1 | [7 empty] | 9602 | 22897.9
TRANSFORMATIONS
| GPP | Gas Processing Plants |  |  |  | 0 | 0 | [9 empty] | 0
| REF | Petroleum Refineries | [14 empty] | 0
| ELC | Electric Power Stations | [14 empty] | 0
| ET | Energy Transformed (f+g+h) | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0 | 0
DIVERSION
| TDL | Transport & Distribution Losses | [13 empty] | -673 | -673
| CES | Auxiliary Consumption of Energy Sector | [14 empty] | 0
| CNES | Consumption for Non-Energy Uses | [14 empty] | 0
| ELCP | Spare By-product Electricity from PASMIC
| OP | Own Pumping | [13 empty] | -294 | -294
| FEU | Final Energy Use (e+j+k+l+m+n+o) | 1330 | 3980 | 93.7 | [10 empty] | 8635 | 21930.9
FINAL
| RSD | Residential | 458 | 2735 |  | 341 | 7458 | 1811 | [7 empty] | 2899 | 15702
| COM | Commercial |  |  |  |  | 222 | [9 empty] | 222
| IND | Industry | 1830 | 3538 |  | 35 | 6843 | 4114 | [7 empty] | 4708 | 21068
| AGR | Agriculture |  |  |  |  | 1868 | [9 empty] | 1868
| TRA | Transport |  |  |  |  | 13425 | 479 | [8 empty] | 13904
| OTH | Other | [14 empty] | 0
| NEN | Non Energy | [14 empty] | 0
| BNK | Bunkers |  | 0 | [12 empty] | 0
| TFC | Total Final Consumption | 2288 | 6273 | 0 | 376 | 29816 | 6404 | [6 empty] | 0 | 7607 | 52764
|  | CO2 | Nox | VOC
| Emission by sector | Carbon dioxide | NOX | VOC
| ELC | 1
1 | BEIS (https://www.gov.uk/government/statistics/electricity-section-5-energy-trends)
Table 3.3 Annual Imports, Exports and Transfers of Electricity (GWh), 2002 to 2019
2 | BEIS (https://assets.publishing.service.gov.uk/government/uploads/system/uploads/attachment_data/file/853549/Regional_Electricity_Generation_and_Supply_2015_to_2018.pdf)
Chart 3.4 Electricity Generation and Consumption Flow Chart, 2018
3 | BEIS (https://www.gov.uk/government/statistics/regional-renewable-statistics)
Table 4.5 Generation of Electricity from Renewable Sources (GWh), 2018
4 | BEIS (https://www.gov.uk/government/statistics/energy-trends-december-2019-special-feature-article-electricity-generationand-supply-figures-for-scotland-wales-northern-ireland-and-england-2)
Table 4.7 Shares of Generation for UK and UK Countries by Fuel Type, 2013, 2017 and 2018
5 | BEIS (https://www.gov.uk/government/statistical-data-sets/total-final-energy-consumption-at-regional-and-local-authority-level)
Energy in Northern Ireland 2020 Table 5.1 Northern Ireland Final Energy Consumption Excluding Electricity and Gas (GWh), 2005-2017
6 | DfE/NIE Networks142, Utility Regulator143, BEIS144
Table 5.7 Total Energy Consumption in Northern Ireland (GWh), 2012 to 2017
Note on C26: Includes fisheries consumption

## CONVENTIONS (hidden)
Energy Commodities |  | Technologies - Convention for Naming | [6 empty] | . | Emission Commodities |  | Sectors |  | Transformations |  | Suffixes |  | Commodity State |  | Commodity Type
Code | Description | Code | Description | Technology type | Fuel | Technology Type | Suffix (Technology Generation or regions) | TIMES Set |  | Code | Description | Code | Description | Code | Description | Code | Description | Code | Description | Code | Description
COA | Coal | IMPCOABIT | Import of Bituminous Coal | Import | COABIT | IMP |  | IMP |  | CH4N | Methane - eNergy Emissions | SUP | Supply and Upstream | MIN | Domestic Potential | _UK | UK | G | gaseous | C | centralised
DST | Diesel | IMPCOAHAR | Import of Hard Coal / Antracite | Import | COAHAR | IMP |  | IMP |  | CH4P | Methane Emissions - Process Emissions | ELC | Electricity | IMP | Import | _Ireland | Ireland Interconnector | L | liquid | D | decentralised
GSL | Gasoline | IMPCOACOK | Import of Coke Coal | Import | COACOK | IMP |  | IMP |  | N2ON | N2O Emissions - eNergy Emissions |  |  | EXP | Export | _GLOBAL
HFO | Heavy Fuel Oil | IMPCOALIG | Import of Lignite / Brown Coal | Import | COALIG | IMP |  | IMP |  | SO2N | Sulfur dioxide - eNergy Emissions |  |  | REF | Refinery | _Whitegate | Whitegate
KER | Kerosene | IMPOILCRD | Import of Crude Oil | Import | OILCRD | IMP |  | IMP |  | CO2N | Carbon Dioxide - eNergy Emissions |  |  | FT- | Fuel Tech | _Scotland | UK Interconnector
LPG | Liquified Petroleum Gases | IMPOILKER | Import of Kerosene | Import | OILKER | IMP |  | IMP |  | CO2P | Carbon Dioxide - Process Emissions
OIL | Oil | IMPOILHFO | Import of Heavy Fuel Oil | Import | OILHFO | IMP |  | IMP |  | CO2S | Carbon Dioxide - Sequestered
NGA | Natural Gas | IMPOILDST | Import of Diesel Oil | Import | OILDST | IMP |  | IMP |  | NOXN | Nitrogen Oxide - eNergy Emissions
BIO | Biomass | IMPOILLPG | Import of Liquified Petroleum Gas | Import | OILLPG | IMP |  | IMP |  | PM10 | Particulate Matter <10 µm
BLQ | Bioliquid | IMPOILGSL | Import of Gasoline | Import | OILGSL | IMP |  | IMP |  | PM25 | Particulate Matter <2.5 µm
BSL | Biomass solid | IMPOILCOK | Import of Petroleum Coke | Import | OILCOK | IMP |  | IMP
BGA | Biogas | IMPOILNEU | Import of Oil for Non-Energy uses | Import | OILNEU | IMP |  | IMP
BWA | Bio Wastes | IMPGASNAT_UK | Import of Natural Gas - UK | Import | GASNAT | IMP | _UK | IMP
AVG | Aviation Gasoline | IMPGASLNG_GLOBAL | Import of Liquified Natural Gas | Import | GASLNG | IMP | _GLOBAL | IMP
JTK | Jet Kerosene | IMPNUCURM | Import of Uranium | Import | NUCURM | IMP |  | IMP
BDL | Bio Diesel | IMPBIOETH1G | Import of Ethanol | Import | BIOETH1G | IMP |  | IMP
BGL | Bio Gasoline | IMPBIODST1G | Import of Biodiesel | Import | BIODST1G | IMP |  | IMP
BGA | Bio Gas | IMPBIOWPE | Import of Wood Pellets | Import | BIOWPE | IMP |  | IMP
BJK | Jet Bio Kerosene | IMPBIOWCH | Import of Wood Chip | Import | BIOWCH | IMP |  | IMP
SOL | Solar | MINGASNAT | Domestic Potential of Natural Gas | Domestic Potential | GASNAT | MIN |  | MIN
SPV | Solar Photovoltaic | MINGASNAT | Domestic Potential of Natural Gas | Domestic Potential | GASNAT | MIN |  | MIN
STH | Solar Thermal | MINPEAT | Domestic Potential of Peat | Domestic Potential | PEAT | MIN |  | MIN
GEO | Geothermal | MINPEAT | Domestic Potential of Peat | Domestic Potential | PEAT | MIN |  | MIN
WIN | Wind | MINRENHYD | Domestic Potential of Hydro | Domestic Potential | RENHYD | MIN |  | MIN
WON | Wind On-Shore | MINRENWIN | Domestic Potential of Wind | Domestic Potential | RENWIN | MIN |  | MIN
WOF | Wind Off-Shore | MINRENSOL | Domestic Potential of Solar | Domestic Potential | RENSOL | MIN |  | MIN
HYD | Hydro | MINMSWAS | Domestic Potential of Municipal Solid Waste | Domestic Potential | MSWAS | MIN |  | MIN
TDL | Tide | MINRENOCE | Domestic Potential of Ocean | Domestic Potential | RENOCE | MIN |  | MIN
WAV | Wave | MINRENAHT | Domestic Potential of Ambient Heat | Domestic Potential | RENAHT | MIN |  | MIN
NUC | Uranium | MINBIOWOO1 | Domestic Potential of Sawmill residues | Domestic Potential | BIOWOO1 | MIN |  | MIN
ELC | Electricity | MINBIOWOO1 | Domestic Potential of Sawmill residues | Domestic Potential | BIOWOO1 | MIN |  | MIN
HET | Heat | MINBIOWOO1 | Domestic Potential of Sawmill residues | Domestic Potential | BIOWOO1 | MIN |  | MIN
WAS | Waste | MINBIOWOO2 | Domestic Potential of Post-Consumer Recycled Wood | Domestic Potential | BIOWOO2 | MIN |  | MIN
COABIT | Bituminous Coal | MINBIOWOO2 | Domestic Potential of Post-Consumer Recycled Wood | Domestic Potential | BIOWOO2 | MIN |  | MIN
COAHAR | Hard Coal / Antracite | MINBIOWOO2 | Domestic Potential of Post-Consumer Recycled Wood | Domestic Potential | BIOWOO2 | MIN |  | MIN
COACOK | Coke Coal | MINBIOWOO3 | Domestic Potential of Straw | Domestic Potential | BIOWOO3 | MIN |  | MIN
COALIG | Lignite / Brown Coal | MINBIOWOO3 | Domestic Potential of Straw | Domestic Potential | BIOWOO3 | MIN |  | MIN
PEAT | Peat | MINBIOWOO3 | Domestic Potential of Straw | Domestic Potential | BIOWOO3 | MIN |  | MIN
OILCRD | Crude Oil | MINBIOMSW1 | Domestic Potential of Biodegradable Municipal Solid Waste potential - Solid | Domestic Potential | BIOMSW1 | MIN |  | MIN
OILRFG | Refinery Gas | MINBIOMSW1 | Domestic Potential of Biodegradable Municipal Solid Waste potential - Solid | Domestic Potential | BIOMSW1 | MIN |  | MIN
OILKER | Kerosene | MINBIOMSW1 | Domestic Potential of Biodegradable Municipal Solid Waste potential - Solid | Domestic Potential | BIOMSW1 | MIN |  | MIN
OILHFO | Heavy Fuel Oil | MINBIOMSW2 | Domestic Potential of Biodegradable Municipal Solid Waste | Domestic Potential | BIOMSW2 | MIN |  | MIN
OILDST | Diesel Oil | MINBIOMSW2 | Domestic Potential of Biodegradable Municipal Solid Waste | Domestic Potential | BIOMSW2 | MIN |  | MIN
OILLPG | Liquified Petroleum Gas | MINBIOMSW2 | Domestic Potential of Biodegradable Municipal Solid Waste | Domestic Potential | BIOMSW2 | MIN |  | MIN
OILGSL | Gasoline | MINBIOTLW | Domestic Potential of Tallow | Domestic Potential | BIOTLW | MIN |  | MIN
OILCOK | Petroleum Coke | MINBIOTLW | Domestic Potential of Tallow | Domestic Potential | BIOTLW | MIN |  | MIN
OILNAP | Naphta | MINBIOTLW | Domestic Potential of Tallow | Domestic Potential | BIOTLW | MIN |  | MIN
OILNEU | Oil for Non-Energy uses | MINBIORVO | Domestic Potential of Recovered Vegetable Oil | Domestic Potential | BIORVO | MIN |  | MIN
GASNAT | Natural Gas | MINBIORVO | Domestic Potential of Recovered Vegetable Oil | Domestic Potential | BIORVO | MIN |  | MIN
GASLNG | Liquified Natural Gas | MINBIORVO | Domestic Potential of Recovered Vegetable Oil | Domestic Potential | BIORVO | MIN |  | MIN
NUCURM | Uranium | MINBIOCATW | Domestic Potential of Cattle Waste | Domestic Potential | BIOCATW | MIN |  | MIN
RENHYD | Hydro | MINBIOCATW | Domestic Potential of Cattle Waste | Domestic Potential | BIOCATW | MIN |  | MIN
RENWIN | Wind | MINBIOCATW | Domestic Potential of Cattle Waste | Domestic Potential | BIOCATW | MIN |  | MIN
RENSOL | Solar | MINBIOPIGW | Domestic Potential of Pig Waste | Domestic Potential | BIOPIGW | MIN |  | MIN
MSWAS | Municipal Solid Waste | MINBIOPIGW | Domestic Potential of Pig Waste | Domestic Potential | BIOPIGW | MIN |  | MIN
RENOCE | Ocean | MINBIOPIGW | Domestic Potential of Pig Waste | Domestic Potential | BIOPIGW | MIN |  | MIN
RENAHT | Ambient Heat | MINBIOINDF | Domestic Potential of Industrial Food Waste | Domestic Potential | BIOINDF | MIN |  | MIN
BIOETH1G | Ethanol | MINBIOINDF | Domestic Potential of Industrial Food Waste | Domestic Potential | BIOINDF | MIN |  | MIN
BIODST1G | Biodiesel | MINBIOINDF | Domestic Potential of Industrial Food Waste | Domestic Potential | BIOINDF | MIN |  | MIN
BIOGAS1G | Biogas | MINCYC | Domestic Potential of Cycling | Domestic Potential | CYC | MIN |  | MIN
BIOWOO | Biomass - generic | MINWLK | Domestic Potential of Walking | Domestic Potential | WLK | MIN |  | MIN
BIOWOO1 | Sawmill residues | IMPELC_Ireland | Import of Electricity - Ireland Interconnector | Import | ELC | IMP | _Ireland | IMP
BIOWOO2 | Post-Consumer Recycled Wood | IMPELC_Scotland | Import of Electricity - UK Interconnector | Import | ELC | IMP | _Scotland | IMP
BIOWOO3 | Straw | EXPELC_Ireland | Export of Electricity - Ireland Interconnector | Export | ELC | EXP | _Ireland | EXP
BIOWPE | Wood Pellets | EXPELC_Scotland | Export of Electricity - UK Interconnector | Export | ELC | EXP | _Scotland | EXP
BIOWCH | Wood Chip | SREFOILCRD_Whitegate | Refinery of Crude Oil - Whitegate | Refinery | OILCRD | REF | _Whitegate | PRE
BIOMSW1 | Biodegradable Municipal Solid Waste potential - Solid | FT-SUPNGA | Fuel Tech - Natural Gas (SUP) | Fuel Tech | NGA | FT- |  | PRE
BIOMSW2 | Biodegradable Municipal Solid Waste | FT-SUPCOA | Fuel Tech - Coal (SUP) | Fuel Tech | COA | FT- |  | PRE
BIOTLW | Tallow | FT-SUPWAS | Fuel Tech - Waste (SUP) | Fuel Tech | WAS | FT- |  | PRE
BIORVO | Recovered Vegetable Oil | FT-SUPBIO | Fuel Tech - Biomass (SUP) | Fuel Tech | BIO | FT- |  | PRE
BIOCATW | Cattle Waste | FT-SUPELC | Fuel Tech - Electricity (SUP) | Fuel Tech | ELC | FT- |  | PRE
BIOPIGW | Pig Waste
BIOINDF | Industrial Food Waste
H2 | Hydrogen
CYC | Cycling
WLK | Walking

## Commodities
~FI_Comm
Csets | CommName | CommDesc | Unit | LimType | CTSLvl | PeakTS | Ctype
\I: Commodity set | Commodity name | Description
\I: Energy Commodities
NRG | ELC | Electricity - centralised | PJ

## Processes
Processes definition
~FI_Process
Sets | Region | TechName | TechDesc | Tact | Tcap | Tslvl | PrimaryCG | Vintage
\I: Process Set Membership |  | Technology name | Description | Activity unit | Capacity unit | TimeSlice level of Process Activity | Primary Commodity Group | Vintage Tracking
IMP |  | IMPELC_Ireland | Import of Electricity - Ireland Interconnector | PJ | GW
IMP |  | IMPELC_Scotland | Import of Electricity - UK Interconnector | PJ | GW
EXP |  | EXPELC_Ireland | Export of Electricity - Ireland Interconnector | PJ | GW
EXP |  | EXPELC_Scotland | Export of Electricity - UK Interconnector | PJ | GW
\I: Fuel Technologies
PRE |  | FT-SUPELC | Fuel Tech - Electricity (SUP) | PJ | PJa
Note on B5: Sets declarations are inherited. Allowed Process Sets ELE (Thermal Electric Power Plant) CHP (Combined Heat and Power) STGTSS (Pump Storage) STGIPS (Pump Storage IP) PRE (Genric Process/Technology) DMD (Demand Device) IMP (Import) EXP (Export) MIN (Mining Process) RNW (Renewable Technology) HPL (Heating Plant)
Note on H5: Allowed TsLvl ANNUAL (Annual level) SEASON (Seasonal level) WEEKLY (Weekly level) DAYNITE (day and night level)
Note on I5: Needed only when one wants to override the VEDA default assignment
Note on J5: Allowed Vintage NO (if empty by default mean NO) YES

## SUP_FuelTech
Fuel Techs - Sectoral infrastructure
~FI_T
Region | TechName | Comm-IN | Comm-OUT | EFF | Life | Share-I | Pasti | INVCOST | NCAP_BND~UP~0
* | [6 empty] | PJa | €/GJa | Interpolation
| FT-SUPELC | ELC | ELC | 1

## Interconnector
Electricity Interconnector |  |  |  |  | ~FI_T
Region | TechName | TechDesc | Comm-IN | Comm-OUT | Year | CAP2ACT | EFF | PEAK | NCAP_FOM | STOCK | STOCK~2070 | NCAP_AF~FX~2018 | NCAP_AF~FX~0 | NCAP_TLIFE |  | COST~2018 | COST~2020 | COST~2025 | COST~2030 | COST~2035 | COST~2040 | COST~2045 | COST~2050 | NCAP_BND | NCAP_BND~0
*Region Name | *Technology Name | Technology Description |  |  |  |  | Efficiency |  | Fixed costs | [6 empty] | Euro/GJ | Euro/GJ | Euro/GJ | Euro/GJ | Euro/GJ | Euro/GJ | Euro/GJ | Euro/GJ
| IMPELC_Ireland | Import of Electricity - Ireland Interconnector |  | ELC | 2018 | 31.536 | 1 | 0.25 | 5.1 | 400 | 400 | 0.10425 | 5 | 100 |  | 12.8 | 14.08 | 15.488 | 17.0368 | 18.7405 | 20.6145 | 22.676 | 24.9436 | 0 | 2 | 1315.3
| IMPELC_Scotland | Import of Electricity - UK Interconnector |  | ELC | 2018 | 31.536 | 1 | 0.25 | 1.3 | 500 | 500 | 0.038623 | 5 | 100 |  | 8.9 | 9.79 | 10.769 | 11.8459 | 13.0305 | 14.3335 | 15.7669 | 17.3436 | 0 | 2 | 609
| EXPELC_Ireland | Export of Electricity - Ireland Interconnector | ELC |  | 2018 | 31.536 | 1 | 0.25 | 12.8 | 400 | 400 | 0.029886 | 5 | 100 |  | 5.1 | 5.61 | 6.171 | 6.7881 | 7.4669 | 8.2136 | 9.035 | 9.9385 | 0 | 2 | 377
| EXPELC_Scotland | Export of Electricity - UK Interconnector | ELC |  | 2018 | 31.536 | 1 | 0.5 | 8.9 | 500 | 500 | 0.05378 | 5 | 100 |  | 1.3 | 1.43 | 1.573 | 1.7303 | 1.9033 | 2.0937 | 2.303 | 2.5333 | 0 | 2 | 848
Existing electricity interconnection - Ireland
TechName | TechDesc | Comm-IN | Comm-OUT | END | CAP2ACT | EFF | PEAK | NCAP_FOM | STOCK | STOCK~2060 | NCAP_AF~FX~WN~2015 | NCAP_AF~FX~WD~2015 | NCAP_AF~FX~WP~2015 | NCAP_AF~FX~WE~2015 | NCAP_AF~FX~PN~2015 | NCAP_AF~FX~PD~2015 | NCAP_AF~FX~PP~2015 | NCAP_AF~FX~PE~2015 | NCAP_AF~FX~SN~2015 | NCAP_AF~FX~SD~2015 | NCAP_AF~FX~SP~2015 | NCAP_AF~FX~SE~2015 | NCAP_AF~FX~AN~2015 | NCAP_AF~FX~AD~2015 | NCAP_AF~FX~AP~2015 | NCAP_AF~FX~AE~2015 | NCAP_AF~FX~WN~0 | NCAP_AF~FX~WD~0 | NCAP_AF~FX~WP~0 | NCAP_AF~FX~WE~0 | NCAP_AF~FX~PN~0 | NCAP_AF~FX~PD~0 | NCAP_AF~FX~PP~0 | NCAP_AF~FX~PE~0 | NCAP_AF~FX~SN~0 | NCAP_AF~FX~SD~0 | NCAP_AF~FX~SP~0 | NCAP_AF~FX~SE~0 | NCAP_AF~FX~AN~0 | NCAP_AF~FX~AD~0 | NCAP_AF~FX~AP~0 | NCAP_AF~FX~AE~0
*Technology Name | Technology Description | Input Commodity | Output Commodity | Last year available for build | Units of activity/unit of capacity | Efficiency | Peak Contribution - Ireland | Fixed costs | Existing Capacity - Ireland | Existing Capacity - Ireland - 2060 | Fixed Availability Factor from 2015 | Fixed Availability Factor from 2015 | Fixed Availability Factor from 2015 | Fixed Availability Factor from 2015 | Fixed Availability Factor from 2015 | Fixed Availability Factor from 2015 | Fixed Availability Factor from 2015 | Fixed Availability Factor from 2015 | Fixed Availability Factor from 2015 | Fixed Availability Factor from 2015 | Fixed Availability Factor from 2015 | Fixed Availability Factor from 2015 | Fixed Availability Factor from 2015 | Fixed Availability Factor from 2015 | Fixed Availability Factor from 2015 | Fixed Availability Factor from 2015 | Fixed AF interpolation rule | Fixed AF interpolation rule | Fixed AF interpolation rule | Fixed AF interpolation rule | Fixed AF interpolation rule | Fixed AF interpolation rule | Fixed AF interpolation rule | Fixed AF interpolation rule | Fixed AF interpolation rule | Fixed AF interpolation rule | Fixed AF interpolation rule | Fixed AF interpolation rule | Fixed AF interpolation rule | Fixed AF interpolation rule | Fixed AF interpolation rule | Fixed AF interpolation rule
*Unit |  |  |  | year | activity unit / capacity unit | % |  | m£/GW | GW | GW | fraction | fraction | fraction | fraction | fraction | fraction | fraction | fraction | fraction | fraction | fraction | fraction | fraction | fraction | fraction | fraction
ELCII00 | ELC.INTERCONNECTION: .00.IMPORT.IRELAND. | ELC-I-IRE | ELCGEN | 2010 | 31.536 | 1 | 0 | 0 | 0.75 | 0.75 | 0.46152 | 0 | 0 | 0 | 0.46152 | 0 | 0 | 0 | 0.46152 | 0 | 0 | 0 | 0.46152 | 0 | 0 | 0 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
ELCEI00 | ELC.INTERCONNECTION: .00.EXPORT.IRELAND. | ELCGEN | ELC-E-IRE | 2010 | 31.536 | 1 | 0.25391 | 3.2 | 0.75 | 0.75 | 0 | 0.2556 | 0.37861 | 0.072113 | 0 | 0.2556 | 0.37861 | 0.072113 | 0 | 0.2556 | 0.37861 | 0.072113 | 0 | 0.2556 | 0.37861 | 0.072113 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
*Interpolation rule 5 - Interpolation and forward extrapolation. This means that each AF will be applied for every year after that specified and not at all beforehand

## SEAI-AEA_BioData (hidden)
Source: | SEAI-AEA, Bioenergy Supply Curves for Ireland 2010 – 2030. October 2012, version 1.0 | [6 empty] | Conversion |  |  |  |  | Consumer Price Index (CPI) - CSO
[8 empty] | 1 toe | 41.868 | GJ |  |  | Base=100 | 2010
Appendix 3 Potential Imports of Bioenergy | [7 empty] | 1 ktoe | 0.041868 | PJ |  |  | 2000-12-01 | 127.6166
The following tables refer to potential import scenarios for bioenergy to Ireland, as described in Section11. | [12 empty] | Source: http://www.cso.ie/px/pxeirestat/Statire/SelectVarVal/Define.asp?maintable=CPA04&PLanguage=0
Table A. 3: Restricted supply/reference demand | [6 empty] | €2010
| Unit | 2010 | 2015 | 2020 | 2025 | 2030 | Unit | 2010 | 2015 | 2020 | 2025 | 2030 | Table A. 3: Restricted supply/reference demand
Wood chips | toe | 9358 | 0 | 24163 | 139233 | 470124 | PJ | 0.3918 | 0 | 1.0117 | 5.8294 | 19.6832 | Table A. 4: Medium supply/reference demand
Wood chips | €/toe | 288 | 162 | 126 | 106 | 98 | €/GJ | 6.8788 | 3.8693 | 3.0095 | 2.5318 | 2.3407 | Table A. 5: Ambitious supply/reference demand
Wood pellets | toe | 28075 | 0 | 72490 | 417699 | 1410371 | PJ | 1.1754 | 0 | 3.035 | 17.4882 | 59.0494 | Table A. 6: Medium supply/high demand
Wood pellets | €/toe | 590 | 385 | 300 | 251 | 232 | €/GJ | 14.0919 | 9.1956 | 7.1654 | 5.995 | 5.5412 | Table A. 7: Ambitious supply/high demand
Bioethanol | toe | 535616 | 310101 | 6531 | 43493 | 130927 | PJ | 22.4252 | 12.9833 | 0.27344 | 1.821 | 5.4817
Bioethanol | €/toe | 779 | 740 | 693 | 630 | 577 | €/GJ | 18.6061 | 17.6746 | 16.552 | 15.0473 | 13.7814
Biodiesel | toe | 106129 | 75725 | 0 | 0 | 0 | PJ | 4.4434 | 3.1705 | 0 | 0 | 0
Biodiesel | €/toe | 1209 | 1276 | 1312 | 1218 | 1156 | €/GJ | 28.8765 | 30.4767 | 31.3366 | 29.0914 | 27.6106
Table A. 4: Medium supply/reference demand | [6 empty] | €2010 | [5 empty] | Index |  |  |  |  | €2000
| Unit | 2010 | 2015 | 2020 | 2025 | 2030 | Unit | 2010 | 2015 | 2020 | 2025 | 2030 | 2010 | 2015 | 2020 | 2025 | 2030 | 2010 | 2015 | 2020 | 2025 | 2030
Wood chips | toe | 7640 | 7551 | 141276 | 452161 | 1150679 | PJ | 0.31987 | 0.31615 | 5.9149 | 18.9311 | 48.1766
Wood chips | €/toe | 288 | 218 | 174 | 149 | 142 | €/GJ | 6.8788 | 5.2068 | 4.1559 | 3.5588 | 3.3916 | 100% | 75.69% | 60.42% | 51.74% | 49.31% | 5.3902 | 4.0801 | 3.2566 | 2.7887 | 2.6577
Wood pellets | toe | 22921 | 22653 | 423827 | 1356482 | 3452038 | PJ | 0.95966 | 0.94844 | 17.7448 | 56.7932 | 144.5299
Wood pellets | €/toe | 590 | 446 | 356 | 305 | 291 | €/GJ | 14.0919 | 10.6525 | 8.5029 | 7.2848 | 6.9504 | 100% | 75.59% | 60.34% | 51.69% | 49.32% | 11.0424 | 8.3473 | 6.6629 | 5.7083 | 5.4463
Bioethanol | toe | 781304 | 791507 | 441100 | 807242 | 1351788 | PJ | 32.7116 | 33.1388 | 18.468 | 33.7976 | 56.5967
Bioethanol | €/toe | 779 | 761 | 736 | 695 | 665 | €/GJ | 18.6061 | 18.1762 | 17.5791 | 16.5998 | 15.8833 | 100% | 97.69% | 94.48% | 89.22% | 85.37% | 14.5797 | 14.2428 | 13.7749 | 13.0075 | 12.4461
Biodiesel | toe | 101544 | 112421 | 0 | 0 | 92339 | PJ | 4.2514 | 4.7068 | 0 | 0 | 3.866
Biodiesel | €/toe | 1209 | 1313 | 1389 | 1334 | 1312 | €/GJ | 28.8765 | 31.3605 | 33.1757 | 31.862 | 31.3366 | 100% | 108.6% | 114.9% | 110.3% | 108.5% | 22.6275 | 24.574 | 25.9964 | 24.967 | 24.5552
Table A. 5: Ambitious supply/reference demand | [6 empty] | €2010 | [5 empty] | Index
| Unit | 2010 | 2015 | 2020 | 2025 | 2030 | Unit | 2010 | 2015 | 2020 | 2025 | 2030 | 2010 | 2015 | 2020 | 2025 | 2030 | 2010 | 2015 | 2020 | 2025 | 2030
Wood chips | toe | 6382 | 29323 | 214410 | 666226 | 1885232 | PJ | 0.2672 | 1.2277 | 8.9769 | 27.8936 | 78.9309
Wood chips | €/toe | 288 | 257 | 211 | 187 | 183 | €/GJ | 6.8788 | 6.1383 | 5.0396 | 4.4664 | 4.3709 | 100% | 89.24% | 73.26% | 64.93% | 63.54% | 5.3902 | 4.81 | 3.9491 | 3.4999 | 3.425
Wood pellets | toe | 191,47 | 87968 | 643231 | 1998677 | 5655695 | PJ | #VALUE! | 3.683 | 26.9308 | 83.6806 | 236.7926
Wood pellets | €/toe | 590 | 514 | 423 | 374 | 367 | €/GJ | 14.0919 | 12.2767 | 10.1032 | 8.9328 | 8.7656 | 100% | 87.12% | 71.69% | 63.39% | 62.2% | 11.0424 | 9.62 | 7.9168 | 6.9997 | 6.8687
Bioethanol | toe | 779549 | 795568 | 452796 | 823157 | 1376225 | PJ | 32.6382 | 33.3088 | 18.9577 | 34.4639 | 57.6198
Bioethanol | €/toe | 779 | 792 | 799 | 792 | 801 | €/GJ | 18.6061 | 18.9166 | 19.0838 | 18.9166 | 19.1316 | 100% | 101.7% | 102.6% | 101.7% | 102.8% | 14.5797 | 14.823 | 14.954 | 14.823 | 14.9914
Biodiesel | toe | 101448 | 117598 | 0 | 0 | 104602 | PJ | 4.2474 | 4.9236 | 0 | 0 | 4.3795
Biodiesel | €/toe | 1209 | 1367 | 1500 | 1506 | 1550 | €/GJ | 28.8765 | 32.6502 | 35.8269 | 35.9702 | 37.0211 | 100% | 113.1% | 124.1% | 124.6% | 128.2% | 22.6275 | 25.5846 | 28.0738 | 28.1861 | 29.0096
Table A. 6: Medium supply/high demand | [6 empty] | €2010 | [5 empty] | Index |  |  |  |  | €2000
| Unit | 2010 | 2015 | 2020 | 2025 | 2030 | Unit | 2010 | 2015 | 2020 | 2025 | 2030 | 2010 | 2015 | 2020 | 2025 | 2030 | 2010 | 2015 | 2020 | 2025 | 2030
Wood chips | toe | 7640 | 0 | 0 | 0 | 142382 | PJ | 0.31987 | 0 | 0 | 0 | 5.9612
Wood chips | €/toe | 288 | 226 | 185 | 165 | 162 | €/GJ | 6.8788 | 5.3979 | 4.4186 | 3.941 | 3.8693 | 100% | 78.47% | 64.24% | 57.29% | 56.25% | 5.3902 | 4.2298 | 3.4624 | 3.0881 | 3.032
Wood pellets | toe | 22921 | 0 | 0 | 0 | 427146 | PJ | 0.95966 | 0 | 0 | 0 | 17.8837
Wood pellets | €/toe | 590 | 462 | 379 | 338 | 331 | €/GJ | 14.0919 | 11.0347 | 9.0523 | 8.073 | 7.9058 | 100% | 78.31% | 64.24% | 57.29% | 56.1% | 11.0424 | 8.6467 | 7.0933 | 6.326 | 6.195
Bioethanol | toe | 781304 | 788018 | 409398 | 734123 | 1404121 | PJ | 32.7116 | 32.9927 | 17.1407 | 30.7363 | 58.7877
Bioethanol | €/toe | 779 | 824 | 866 | 911 | 986 | €/GJ | 18.6061 | 19.6809 | 20.6841 | 21.7589 | 23.5502 | 100% | 105.8% | 111.2% | 116.9% | 126.6% | 14.5797 | 15.4219 | 16.208 | 17.0502 | 18.4539
Biodiesel | toe | 101544 | 112987 | 0 | 0 | 109936 | PJ | 4.2514 | 4.7305 | 0 | 0 | 4.6028
Biodiesel | €/toe | 1209 | 1420 | 1605 | 1694 | 1832 | €/GJ | 28.8765 | 33.9161 | 38.3348 | 40.4605 | 43.7566 | 100% | 117.5% | 132.8% | 140.1% | 151.5% | 22.6275 | 26.5766 | 30.039 | 31.7047 | 34.2875
Table A. 7: Ambitious supply/high demand | [6 empty] | €2010 | [5 empty] | Index |  |  |  |  | €2000
| Unit | 2010 | 2015 | 2020 | 2025 | 2030 | Unit | 2010 | 2015 | 2020 | 2025 | 2030 | 2010 | 2015 | 2020 | 2025 | 2030 | 2010 | 2015 | 2020 | 2025 | 2030
Wood chips | toe | 6382 | 0 | 69709 | 192223 | 876934 | PJ | 0.2672 | 1.5929 | 2.9186 | 8.048 | 36.7155
Wood chips | €/toe | 288 | 267 | 226 | 209 | 211 | €/GJ | 6.8788 | 6.3772 | 5.3979 | 4.9919 | 5.0396 | 100% | 92.71% | 78.47% | 72.57% | 73.26% | 5.3902 | 4.9971 | 4.2298 | 3.9116 | 3.9491
Wood pellets | toe | 191470 | 0 | 209128 | 576669 | 2630803 | PJ | 8.0165 | 8.3861 | 8.7558 | 24.144 | 110.1465
Wood pellets | €/toe | 590 | 535 | 452 | 418 | 421 | €/GJ | 14.0919 | 12.7783 | 10.7958 | 9.9838 | 10.0554 | 100% | 90.68% | 76.61% | 70.85% | 71.36% | 11.0424 | 10.013 | 8.4596 | 7.8232 | 7.8794
Bioethanol | toe | 779549 | 792079 | 421094 | 750039 | 1428558 | PJ | 32.6382 | 33.1628 | 17.6304 | 31.4026 | 59.8109
Bioethanol | €/toe | 779 | 864 | 951 | 1054 | 1204 | €/GJ | 18.6061 | 20.6363 | 22.7142 | 25.1744 | 28.757 | 100% | 110.9% | 122.1% | 135.3% | 154.6% | 14.5797 | 16.1705 | 17.7988 | 19.7265 | 22.5339
Biodiesel | toe | 101448 | 118165 | 0 | 0 | 122199 | PJ | 4.2474 | 4.9473 | 0 | 0 | 5.1162
Biodiesel | €/toe | 1209 | 1488 | 1755 | 1948 | 2212 | €/GJ | 28.8765 | 35.5403 | 41.9175 | 46.5272 | 52.8327 | 100% | 123.1% | 145.2% | 161.1% | 183% | 22.6275 | 27.8492 | 32.8464 | 36.4586 | 41.3995

## Conversions (hidden)
Conversion factors - Energy
1 ktoe | = | 0.041868 | PJ
1 MBtu | = | 1.0551 | GJ
1 toe | = | 7.33 | boe
1 boe | = | 5.7119 | GJ
Conversion factors - Other
1 EUR19 | = | 1.1195 | USD19
1 EUR18 | = | 1.181 | USD18
Note on D4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Barrel of Oil Equivalent
Note on C10: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Average exchange rate in 2019, ECB
Note on C11: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Average exchange rate in 2018, ECB